## Slide 1: MAURY 2640D
DIMENSISONS

## Slide 2
The above Simulation includes three parameters.
  D1 -> Depth of Tuner Probe 1
  D2 -> Depth of Tuner Probe 2
  Lateral -> Lateral Movement Length (Common for Both Probes).

## Slide 3
127.35 mm
40.6 mm
THE ALUMINIUM SLABS OF MAURY 2640D
w
9.3 mm
h
1)Slab length:127.35mm
2)Slab width:40.6mm
3)Slab height:9.3L
L

## Slide 4
127.35 mm
9 mm
14 mm
23.55 mm
Inner Conductor
Aluminium Slab
Slab Holder
40.6 mm
TOP VIEW

## Slide 5
24.2 mm
9.3 mm
5.6 mm
1.275 mm
1.275 mm
Inner Conductor
Air Dielectric
Side View

## Slide 6
There is no explicit mentioning of the material of the inner conductor in the Datasheet of the tuner.
But the tuner mentions a connector type of 7mm.
It is explicitly mentioned in the datasheet of the 7mm connector, that the inner conductor is of Be Cu with Gold plating.
The same has been used in the simulation also.
Inner Conductor

## Slide 7
Top View
Side View
20.6 mm
16.6 mm
2 mm
5.5 mm
20.6 mm
Tuner Probe 1
The Tuner probe material is also assumed to Be Cu, as the purpose of the tuner is to affect the EM waves in the inner conductor.

## Slide 8
Tuner Probe 2
Top View
Left Side View
12.7 mm
5.9 mm
20.6 mm
6 mm
10.6 mm
2 mm
5.5 mm
20.6 mm
The Tuner probe material is also assumed to Be Cu, as the purpose of the tuner is to affect the EM waves in the inner conductor.

## Slide 9
TP1
TP2
TP1
TP2
TP1
TP2
TP1
TP2
Probe Lateral Movement
Total Length of Aluminium Slab = 127.35mm
Movement Restriction on both sides= 14 mm (7 on each side)
Effective Movement Length = 113.35 mm
9.3 mm

## Slide 10
1.15 mm
6.1 mm
Probe Depth Movement
Minimum Depth
Maximum Depth